## Downtime Log
Date | Start Time | End Time | Downtime (minutes) | Failure Type | Remarks | Downtime (hh:mm)
2025-07-10 | 19:19:00 | 19:23:00 | 4 | Power | Power | 4m
2025-07-10 | 19:32:00 | 19:35:00 | 3 | Power | Genset to commercial | 3m
2025-08-12 | 15:12:00 | 15:27:00 | 15 | Equipment | Main TX cabinet breaker tripping | 15m
2025-09-01 | 08:51:00 | 08:58:00 | 7 | Power | Power interruption, to Genset | 7m
2025-09-01 | 09:00:00 | 09:05:00 | 5 | Power | Genset to commercial | 5m
2025-09-05 | 07:00:00 | 07:04:00 | 4 | Power | Power interruption, to Genset | 4m
2025-09-05 | 07:06:00 | 07:07:00 | 1 | Power | Genset to commercial | 1m
2025-09-05 | 11:20:00 | 11:22:00 | 2 | Power | Scheduled Power Outage. Interruption to Genset | 2m
2025-09-05 | 11:26:00 | 11:27:00 | 1 | Power | Genset to commercial power | 1m

## Monthly_Summary
Year | Month | Total_Downtime_Minutes | Failure_Count | Avg_Downtime_Per_Failure | Days_in_Month | Total_Broadcast_Minutes | Availability_% | MTTR_hours
2025 | July | 7 | 2 | 3.5 | 31 | 32550 | 99.9785 | 0.058333
2025 | August | 15 | 1 | 15 | 31 | 32550 | 99.9539 | 0.25
2025 | September | 20 | 6 | 3.3333 | 30 | 31500 | 99.9365 | 0.055556

## Yearly_Summary
Year | Total_Downtime_Minutes | Failure_Count | Avg_Downtime_Per_Failure | Max_Downtime | Min_Downtime | Days_in_Year | Total_Broadcast_Minutes | Availability_% | MTTR_hours | Max_Downtime_hours | Min_Downtime_hours
2025 | 42 | 9 | 4.6667 | 15 | 1 | 365 | 383250 | 99.989 | 0.077778 | 0.25 | 0.016667

## Summary
Year | Month | Total_Downtime_Minutes | Failure_Count | Avg_Downtime_Per_Failure | Days_in_Month | Total_Broadcast_Minutes | Availability_% | MTTR_hours
2025 | July | 7 | 2 | 3.5 | 31 | 32550 | 99.9785 | 0.058333
2025 | August | 15 | 1 | 15 | 31 | 32550 | 99.9539 | 0.25
2025 | September | 20 | 6 | 3.3333 | 30 | 31500 | 99.9365 | 0.055556